⚡ ENERGY EYE — Your Hackathon Idea﻿

Energy Eye is an AI-powered college energy-wastage detection system that combines the college's existing CCTV cameras, electricity monitoring, and class timetable.﻿

🔹 How it works﻿

CCTV Camera﻿
     ↓﻿
Detect people in classroom﻿
     ↓﻿
Occupancy data﻿
     │﻿
     ├──────────────┐﻿
     ↓              ↓﻿
Energy Meter    Timetable﻿
     ↓              ↓﻿
Power Usage    Expected Usage﻿
     └───────┬──────┘﻿
             ↓﻿
        AI Analysis﻿
             ↓﻿
   Energy Wastage Detection﻿
             ↓﻿
     ┌───────┴────────┐﻿
     ↓                ↓﻿
Dashboard        Notification﻿

🔹 The main problem﻿

Your college's main electricity meter only shows total campus consumption. It doesn't tell you which classroom is consuming electricity unnecessarily.﻿

🔹 Your solution﻿

Use:﻿

📷 CCTV → detects whether people are present.﻿

⚡ Sub-meter/energy monitor → measures electricity usage at an appropriate building/floor/circuit level.﻿

📅 Timetable → checks whether the room is supposed to be occupied.﻿

🤖 AI → combines the information and identifies suspicious energy consumption.﻿

📊 Dashboard → shows room status, power usage, wastage probability, and estimated cost.﻿

🔔 Notification → alerts authorized college staff when probable wastage is detected.﻿


🔹 Example﻿

Room 204﻿

CCTV       → 0 people﻿
Energy     → 1.8 kW﻿
Timetable  → No class﻿
Duration   → 30 minutes﻿

             ↓﻿

AI → 94% probability of energy wastage﻿

             ↓﻿

⚠️ ALERT:﻿
Room 204 may have unnecessary﻿
electricity consumption.﻿

The system can also estimate:﻿

> Energy wasted + approximate financial loss﻿



🏆 Your USP﻿

> "Instead of installing expensive sensors everywhere, Energy Eye combines existing CCTV infrastructure with limited energy monitoring to identify where energy is likely being wasted."﻿



🎯 Hackathon MVP﻿

You only need to demonstrate one classroom:﻿

1 camera + 1 energy-monitoring setup + ESP32/IoT + AI + dashboard + notification.﻿

If the prototype works, it can later scale from one classroom → building → entire campus → multiple campuses.